# Understanding the “reserve”: linkages between water resources, infrastructure and demand and entitlements in the Sand River Catchment, South Africa

# By: Stef Smits1 Sharon Pollard2, Derick du Toit2, John Butterworth3 and Patrick Moriarty1

# 1IRC International Water and Sanitation Centre, Delft, the Netherlands

# 2Association for Water and Rural Development, Acornhoek, South Africa

# 3Natural Resources Institute, Greenwich, United Kingdom

Summary

The National Water Act of South Africa states that that in any catchment a “reserve” of water should be identified and safeguarded, before any further allocations of water are made. This reserve consists of a Basic Human Needs Reserve and an Ecological Reserve. Understanding the concept of the reserve and its practical implications was done using the Resources, Infrastructure, Demand and Entitlements framework. This framework was applied using computer modelling to the case of the Sand River catchment. The analysis showed that in this catchment the Basic Human Needs Reserve could not always be met because of infrastructure limitations, and not water resource limitations. The Ecological Reserve cannot be met for most of the time under the current water use pattern. Indeed, water availability over and above the reserve (ER and BHNR) is very limited and in most cases far below what is needed for forestry and irrigation. Possible improvements of the situation lie in considering exploitation of groundwater on a larger scale and upgrading and appropriate management of the infrastructure.

Key words: water resources, water services, ecological reserve, South Africa

Introduction

Improved access to water supply and sanitation is amongst the most pressing needs of poor people in all developing countries. Domestic water supplies and environmental sanitation contribute to livelihoods in a wide range of ways (WHiRL, 2001). Because domestic water supply often constitutes a minor water demand this sector traditionally has not looked at broader water resources management issues. However, with increasing pressures on water resources everywhere in the world, the domestic water supply sector needs to position itself in the discussions around water resources management, in order to secure a fair share and voice for itself.

In South Africa, the domestic water supply sector has been guaranteed the necessary resources for providing a basic level of service. The 1998 National Water Act (NWA) (RSA, 1998) states that in any catchment a “reserve” of water should be identified and safeguarded, before any further allocations of water are made. The reserve consists of two elements: the Basic Human Needs Reserve (BHNR) and the Ecological Reserve (ER). The BHNR provides “for the essential needs of individuals served by the water resource in question and includes water for drinking, food preparation and for personal hygiene”. In practice, it is understood as a supply of 25 l/p/d at the tap within a distance of 200 m from the homestead. This means that it refers to the resource needed within the catchment to deliver 25 l/p/d as well as the means to convey it to the tap (Pollard et al., 2002). The ER is the “quantity and quality to protect aquatic ecosystems in order to secure ecologically sustainable development and use of the relevant water resource”. Quite advanced tools exist to determine the amounts required to this ER (see for example, Hughes et al., 1998).

Against this background, the NGO the Association for Water and Rural Development (AWARD) is working in the Sand River catchment in the Limpopo province, to facilitate and mediate the introduction of new policy, and to support its practical implementation for both water resource management and water services provision. At the same time, AWARD is participating in the Water, Households and Rural Livelihoods (WHiRL) project, together with Natural Resources Institute from the University of Greenwich (UK) and the IRC International Water and Sanitation Centre from the Netherlands. This project was undertaking action research to develop and promote improved and more integrated approaches to address water supply and management problems in areas of water scarcity through collaborative research between partners and development projects in India and South Africa. The WHiRL team in South Africa decided to focus its activities on the understanding of the concept of the reserve and its practical implementation. Therefore it looked at the development of a generic methodology for analysing the status of the reserve. Specifically, it tried to answer three basic questions around the status of the reserve:

- Can both the BHNR and ER be met under current and future development scenarios in the catchment?

- Can the current infrastructure deliver the domestic demand in the catchment?

- What are the possibilities for meeting the water requirements of other sectors in the catchment

This paper discusses the methodology that was followed, including the use of water resources modelling tools as well as the outcomes of the reserve analysis for the Sand River Catchment, South Africa.

Methodology

The methodology that was developed, came from the understanding that water resources are linked to people’s demands or entitlements (entitlements are understood as legally or policy driven requirements, such as the reserve) by supply (and disposal) infrastructure, and that each of these three system elements (resources, infrastructure, users) normally has its own set of institutions, boundaries and other characteristics (Moriarty et al., 2004). In other words, there are three sets of largely independent physical/institutional boundaries that need to be considered systematically when looking at water resource development and management problems, such as the analysis of the status of the reserve. The Resource, Infrastructure, Demand and entitlement (RIDe) framework has been conceptualised as the methodology for bringing these three elements together.

Figure 1	the RIDe framework

The emphasis on infrastructure as a link between users and their resources is a critical one, and may represent something of a breakthrough in thinking about stakeholder involvement in IWRM.  There is sometimes a tendency to speak in abstract terms, about ‘rights’ to water for example, while ignoring often insurmountable problems of infrastructure and access. A meaningful right must address not just a 'share' of water resources, but also the necessary infrastructure (and access) to take it to the point of use (Moriarty et al., 2004).

When applying the RIDe framework, it was realised that computer based modelling tools would be needed to get a practical understanding of the situation. For example, the Sand catchment is characterised by large and complex bulk supply and irrigation networks, meaning that water users often inhabit a different part of the catchment than the source from which their supply is drawn. In some cases, water from the Sand is used to supply communities living outside the catchment boundary. The Aquator (Oxford Scientific Software, 2003) software package was selected for a modelling of water resources, infrastructure and use of the Sand River Catchment. Aquator is a mass balance model with a graphical interface that allows explicit modelling of water resources (ground and surface), supply infrastructure, and demand.

A wide range of data sources were used to parameterise the model for the Sand River Catchment. These include mainly “grey” literature and information from the Department of Water Affairs and Forestry on infrastructure in the catchment and abstractions by different uses.

- For surface water, the national “WR90” dataset was used. This is a national dataset containing naturalised monthly run-off data for every quaternary catchment in the country; that is, the theoretical run-off under virgin catchment conditions.

- Groundwater availability was not explicitly modelled, as that would have required detailed hydro-geological information. Instead, groundwater availability was estimated based on a range of different recharge scenarios.

- For several key parameters, such as agricultural and domestic water use, little concrete data exists, and what does is often incomplete, unreliable or contradictory.  As a result, wide use was made of proxies and estimates. These were discussed during a series of meetings with stakeholders and datasets adjusted accordingly to ensure reliability and fit with best available knowledge.

Description of the catchment

The Sand River Catchment, which forms part of the Sabie Catchment, lies in the eastern region of South Africa, straddling Mpumalanga and Limpopo provinces. The total area of the catchment is 1910 km2, sub-divided into 9 quaternary catchments. Figure 2 shows a map of the catchment, showing main population centres, irrigation schemes and forestry plantations; as well as the outlines of the nine quaternary catchments and channels of the main tributaries of the Sand.

Figure 2	Map of the Sand river catchment and quaternary catchments

Water resources

The sand catchment is primarily semi-arid, and shows the typical variability associated with such regions in terms of surface water availability both within and between years. The headwaters of the catchment lie in the hills at the edge of the Drakensberg escarpment, and receive an average of 1800 mm/yr of rainfall. However, the bulk of the catchment lies in the dry lowveld, with a mean annual rainfall of only 500 mm/yr (Pollard and Walker, 2000). This area only contributes 20% to the total catchment run-off. Figure 3 shows a flow duration curve for annual runoff from the unaltered catchment, based on the national WR90 dataset (Midgely et al, 1994). The steep rise at the lower end of the graph shows the impact of wetter years, and indicates the highly skewed flow distribution, with an average annual flow of 136 Mm3/yr, as compared to median and lower annual flows of 75.7 Mm3/yr and 49.8 Mm3/yr.  .

Figure 3: WR90 derived flow duration curve for annual run-off (Mm3/yr)

Not only is there a large variability across the years but also within any year, between the wet and dry season. Figure 4 shows daily runoff values for each month of the year (in m3/s) at the catchment outlet under ‘virgin’ conditions, at different levels of occurrence. This shows that the variability in flows in the Sand River is especially high in summer and much less so in winter. This means that between years there is relatively a large difference in how “wet” the summer is. The winters are all more or less equally dry.

Figure 4: Catchment flow (m3/s) at different levels of probability of exceedance

Detailed data on groundwater was not available (or was deemed unreliable). A simple calculation of recharge to groundwater as a percentage of annual rainfall was used.  This was done for ‘low’, ‘medium’ and ‘high’ recharge scenarios of 2%, 5%, and 10% of long-term average rainfall respectively (sourced from the WR90 dataset). This resulted in estimated recharge of 31 Mm3/yr, 77 Mm3/yr and 155 Mm3/yr respectively (Moriarty et al, 2004).

Infrastructure and demand

Domestic water supply infrastructure: The water resources of the catchment serve an estimated population of approximately 330,000, of whom about 270,000 live inside the boundaries of the catchment.  In theory, 61 of the 96 communities lying within, or drawing domestic water from, the Sand catchment are served at least partially by interconnected bulk schemes drawing water from a number of off-takes both along the river and from storage dams; several are served by more than one.  However, in reality many of these schemes function erratically, if at all, due to poor maintenance and widespread unregistered connections. The other principal source of drinking water for catchment communities is groundwater, with most communities having (again in theory) one or more boreholes installed.  However, in reality many boreholes aren’t equipped with pumps or those they have do not function.

Despite the anomalies between the (often contradictory) data available on coverage with water supply infrastructure, for water resources modelling purposes it was assumed that all schemes function optimally and that communities make best use of the different sources that are available to them. This means that the model results show a theoretical situation, analysing whether available resources and installed infrastructure have the capacity to meet the BHNR and ER if functioning optimally.

Total demand for domestic water was difficult to determine because different sources of information showed different numbers of inhabitants in the catchment. Finally, it was agreed that there are about 350.000 inhabitants being served by water from the catchment. As will be discussed later, domestic demand is between 25 and 80 l/p/d, with the latter being the most realistic gross demand. This means that the total domestic demand for the entire catchment is between 9 and 28 Ml/d (equivalent to between approximately 3 and 10 Mm3/yr). This demand is assumed to be more or less constant throughout the year.

Irrigation infrastructure: The upper and middle reaches of the catchment have approximately 1,500 ha or land under irrigation of one form or another, with a total annual demand of approximately 12 Mm3/yr.  Monthly variations in irrigation demand are shown in Table 1.  The infrastructure to supply water to these schemes is, like the domestic water system, highly interconnected, and the two systems are themselves also interconnected in some places. In addition to the existing schemes, a fourth, currently non-functioning scheme, called Zoeknog, exists in the upper catchment. There are now to revitalise the scheme to grow bananas, although the final decisions has yet to be taken.

Table 1: Monthly total irrigation demand

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Irrigation demand (Ml/d) | 43 | 54 | 56 | 35 | 22 | 18 | 18 | 37 | 37 | 33 | 33 | 21 |

Storage infrastructure: Combined storage capacity in the catchment is 7.9Mm3, shared between four major dams (Casteel, Orinoco, Edinburgh, Acornhoek), of these two are used solely for irrigation, and one for drinking water. For modelling purposes it was assumed that the dams can be operated adequately and that they release water upon downstream water demands. In reality these dams are not equipped with operation infrastructure, such as gates.

Inter-basin transfer:  A major inter-basin transfer from the Injaka dam is coming on line, and is currently supplying between 6 and 8 Ml/d into the Sand.  There are plans to increase this amount tenfold, and to link it directly into the bulk supply infrastructure over the next 10 years. Additional domestic water supply infrastructure is also part of the programme around this transfer.

Forestry plantations: Forestry plantations are an important user of water in the catchment (see Table 2). These plantations are all located in the upper (wet) part of the catchment. Although forestry does not “abstract” water from the rivers, trees consume soil water or shallow groundwater and hence lead to Stream Flow Reduction (SFR), as less water is available for run-off.  The SFR is calculated based on the extra demands of plantation forestry over naturally occurring vegetation.

Table 2: Monthly total forestry demand

| Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Forestry demand (Ml/d) | 40 | 39 | 31 | 14 | 5 | 3 | 4 | 3 | 8 | 15 | 29 | 35 |

Environmental demand: The last major water demand of water is “the environment”.  Identifying the impact of current and planned water needs on the ecological reserve (ER) (see Pollard et al, 2002, for an explanation of this and other terms related to South African water legislation). This is currently being implemented by the identification of so-called Environmental Flow Requirement (EFR) for rivers or stretches of rivers. The EFR (previously referred to as in-stream flow requirements or IFR) is a flow regime that needs to be guaranteed to maintain the river ecology and the goods and services that it provides.

The establishment of IFRs requires advanced methods (e.g. Hughes et al., 1998), and turning the IFRs into operating rules is a subject of ongoing work. For the case of the Sand River Catchment, the current understanding is that the ER is expressed in the form of monthly flow duration curves (FDCs). IFRs were determined for three so-called IFR sites along the Sand River (DWAF 1998), although currently only site (the Exeter gauging weir) is being used to set operating rules that seek to limit the proportion of total flow that major abstractors like irrigation schemes can take.

Despite no figure for the annual ecological demand having been derived in the EFR process, a figure can be arrived at by summing the monthly requirements at a given level of probability of exceedence.  This gives figures of 12.3 Mm3/yr and 38.6 Mm/yr for the 90% and 50% probability of exceedance respectively. The monthly figures are presented later when they are compared to scenario results.

Definition of scenarios

Based on discussions with stakeholders about possible future developments of water resources, infrastructure and demand, a number of key scenarios describing possible future water use within the catchment were defined. The starting point for all scenarios was an assumption that the water resources of the catchment should, in line with legislation, be safeguarded first for domestic and environmental requirements. Working from this assumption both existing and potential future use was examined, as were changes in land management.  The list below represents the scenarios that were tested.

Virgin catchment: the catchment as it would be without abstractions or commercial forestry.  This scenario serves as a baseline for maximum water resources availability, against which subsequent scenarios can be evaluated.

Meeting the BHNR: The second scenario was based upon meeting the minimum domestic entitlement - (i.e. the minimum standards of 25 l/p/d). In other words, the catchments ability to meet the basic human needs reserve while maintaining current patterns of use in agriculture and forestry.

Current use: This scenario was based upon current domestic demands, which are believed to be in the order of magnitude of 80 l/p/d. As mentioned, this level reflects current actual gross demand.

Removal of forestry:  This scenario looked that the likely impact on water resources of removing forestry in the upper catchment.

Irrigation at Zoeknog:  This scenario looked at the likely impacts of starting irrigation up at the disused Zoeknog scheme

Injaka transfer: This final scenario looked at the likely impacts of the Injaka transfer operating at full planned potential.

The Aquator model was used to test each of the above scenarios using a ten year set of runoff figures from the WR-90 dataset. Because storage potential in the catchment is currently low, there is no significant opportunity to benefit from wetter decades (or indeed years). Given the objective of using modelling to test the suitability and sustainability of current and future water use, it seemed sensible to use a drier rather than wetter period to test the different scenarios. The run-off data used to test the scenarios were those for the 1980s, as this was one of the driest decades in the 70 years covered by WR90. The median total annual surface water production (under virgin condition) for that decade was 57 Mm3.

In the next section more details are given for each of these scenarios, together with the main findings.  The results for each scenario are presented as aggregate values for demand for all consumptive uses of water (domestic uses, irrigation and forestry), as well as total supply in terms of available surface water resources. When looking at the results for aggregated anthropogenic demand presented in the following sections, it is important to bear in mind that on top of this, the ER will also have to be met.  However, because of the lack of clarity as to how to turn the FDCs in which the ER is currently expressed in to clear operating rules (volumes to be met at a given time), we have chosen to avoid confusion by presenting them in a separate table at the end of this section.

Results

Scenario 1: Meeting the BHNR - minimum domestic entitlements with no system losses

### Assumptions and input data

In this scenario we look at whether the Basic Human Needs Reserve (BHNR) can be supplied under current conditions. Therefore, the domestic demand is set equal to the minimum domestic entitlement of 25 l/p/d. It is assumed that there are no infrastructural losses or illegal connections that affect this demand. Hence, scenario 1 is really a sub-BHNR scenario because it does not allow for losses.

In order to meet this demand, the model uses the infrastructure that is now in place, both the existing bulk schemes and the groundwater sources. This scenario also uses the current amount of water that is being pumped into the catchment via the temporary pumping station at Injaka, and not yet the planned full amount to be transfered.

When running the model, those communities that cannot get the required amount from one or both of these sources, will appear to receive nothing. In practice, they might get water directly from the rivers or springs. This abstraction is not included in the model, as these are relatively small amounts.

Irrigation demand is set to current values, but does not include the planned irrigation system at Zoeknog. In addition, the model uses the operation rules for the amounts of water that the irrigation systems should leave in the rivers, although it is realised that in practice the infrastructure is not in place to regulate how much water is taken in at the irrigation weirs and how much left in the river. The results thus give an indication of the situation best operation practices.

Dam operation rules are set as such that they will release water upon demands from downstream abstraction points for domestic use and for irrigation. For the latter, demand also includes the mentioned amounts of water that should be passed downstream by the irrigation systems. It is realised that the dams often lack the infrastructural requirements for such releases. Again, the results give an indication of the situation under idealised operating practices.

### Results and implications

The resulting catchment level annual water balance for the different uses of water is as follows.

Table 3: Demand and consumption for the different water uses under scenario 1

|  | Demand (Mm3/yr) | Consumption or SFR (Mm3/yr) | % of demand met |
| --- | --- | --- | --- |
| Forestry | 6.8 | 6.8 | 100 |
| Irrigation | 11.4 | 11.1 | 97 |
| Domestic | 3.1 | 2.5 | 82 |
| Total | 21.3 | 20.4 | 96 |

The communities that do not achieve their minimum entitlement are those ones not linked to a bulk scheme and without sufficient groundwater pumping capacity installed. Under this definition, only 82% of domestic entitlement can be met.  However, all communities linked to a bulk scheme always get sufficient water. This means that meeting the BHNR under this scenario depends on whether sufficient and adequate infrastructure is in place and not (yet) on overall resource availability.

Some irrigation systems can only meet their demands part of the time, but this is still within the design norm of a 95% assured supply.

The resulting patterns of change in storage differ from dam to dam. In general during wet years the dams fill up quickly and then stay filled up more or less the whole time as there is no need for their water. In dry years, on the other hand, the dams run dry very quickly as their storage capacity is limited.

Scenario 2: Current use

### Assumptions and input data

This scenario uses the same input data as the scenario above, but with one major change. The demand for water for domestic purposes is set to 80 l/p/d. This is close to the nominal supply capacity of installed infrastructure and therefore, in terms of demand on water resources, gives a more realistic reflection than does the previous scenario.  However, only in an ideal system would this scenario result in 80l/p/d reaching each person in the catchment. No detailed information exists on how this demand is broken down system by system and village by village. Also no detailed information exists on what percentage is lost. This scenario is the closest approximation to the current reality in the catchment, particularly in terms of demands on the resource base.

### Results

The resulting water balance for the different uses of water is as follows.

Table 4: Demand and consumption for the different water uses under scenario 2

|  | Demand (Mm3/yr) | Consumption or SFR (Mm3/yr) | % of demand met |
| --- | --- | --- | --- |
| Forestry | 6.8 | 6.8 | 100 |
| Irrigation | 11.4 | 11.1 | 97 |
| Domestic | 9.9 | 7.2 | 73 |
| Total | 28.1 | 25.0 | 89 |

Nearly all bulk schemes can provide water for this higher demand, except for two plants that have been under-designed with respect to the population served. None of the other bulk schemes face water resources problems even under drought conditions. Communities that only depend on groundwater have even greater difficulties in meeting the higher demand than under the previous scenario.

On the other hand, under this scenario groundwater, meets about 30% of domestic demand. While not directly tested using the model, estimates of likely groundwater availability suggest that almost all domestic water needs could be met from groundwater sources if sufficient pumping capacity were installed; the exceptions are the more densely populated parts of the catchment, where local demand might exceed local groundwater potential.

Scenario 3: Removal of forestry

### Assumptions and input data

This scenario was developed using the same input data as in the previous scenario (2), with the only difference that plantation forestry was removed, and assumedly replaced by natural vegetation; with the result that no SFR took place. This means that the 6.8 Mm3/yr of surface water that forestry used to take became available further downstream in the catchment.

### Results

Although this scenario does have an impact on total water resources availability in the catchment, it has no impact on increasing the fulfilment of domestic demands. The communities that could not meet their demands under the previous scenario are limited by the available infrastructure, not the available water resources.  Making more water available does not make a difference until the infrastructure needed to capture the water and convey it to the communities is put in place. Removal of forestry has a small positive impact on irrigation at Dingleydale and Champagne, as there is now more water available to fill the Casteel dam.  Both schemes were had their full demand met to above the required assurance level.

Scenario 4: Irrigation at Zoeknog

### Assumptions and input data

This scenario builds upon the previous one, with the difference that the planned Zoeknog irrigation system was implemented, resulting in more water being abstracted from the river. The total demand for irrigation under this scenario increases from 12Mm3/yr to about 13 Mm3/yr.

### Results

This scenario only has an impact on total catchment water availability, but not significantly on any of the individual demands. The intakes for irrigation and domestic use that are downstream from Zoeknog are unaffected by the reduction in flow as there is still enough water in the river to meet their demand.

To some extent, under this scenario, the new irrigation scheme replaces the demand of one of the forestry plantations that used to be in the same quaternary catchment, although the timing of the peaks in demands of the irrigation scheme and the previous forestry plantations differ.

Scenario 5: Full Injaka transfer

### Assumptions and input data

This scenario differs significantly from the previous ones. The Injaka transfer is meant to support domestic use and downstream ecological flows in the Sand River Catchment. It has been assumed that it will replace the need for abstractions for domestic purposes from smaller intakes. It is also assumed that users will continue to use groundwater to the maximum installed pumping capacity and only then use water from Injaka to supplement their supplies.

### Results

As can be seen in the table below, all communities can meet their domestic demands (defined as 80 l/p/d including losses) all the time, as this scenario assumes extra infrastructure is in place to meet these demands. The Injaka transfer basically takes over the supply to a large number of communities that now depend on smaller intake works.

Table 5: Demand and supply of different water uses under scenario 5

|  | Demand (Mm3/yr) | Consumption (Mm3/yr) | % of demand met |
| --- | --- | --- | --- |
| Sub-total irrigation | 13.1 | 13.0 | 99.6 |
| Sub-total domestic | 9.9 | 9.9 | 100 |
| Total | 23.0 | 23.0 | 100 |

Comparison between the scenarios with regard to the Ecological Reserve

Table 6 below summarises the differences between the different scenarios in terms of the overall water balance (total supply minus total demand) for a number of months. These are compared to both the virgin catchment, and the requirements of the ecological reserve. The comparison is carried out at two levels of certainty of exceeding an instream flow 50% and 90%.  This is compared to the median and 90 percentile values for the model output in the relevant month.

The results clearly indicate that the ER cannot be met most of the time (the shaded cells indicate when the ER cannot be met), at least for this dry decade (the 1980s).  The following points give some indication of the implications of these numbers:

- For the dry decade modelled, the median flow in the virgin catchment is more or less equivalent to the median ER in the winter months. That would mean that no non-impounded surface water can be extracted during these months without breaking the ER.

- For the month of January, at the 90% confidence level, about 26 Ml/d can be extracted from the run-off, which would be equivalent to actual domestic demand of 80 l/p/d, if that were the only use.

- As 50% of forestry demand and consumption comes from December until February, it means that during these months, in dry years, forestry already consumes so much that the ER can not be met.

- Filling up of dams contributes to not meeting the ER in the summer months. However, if they were not allowed to fill, irrigation and domestic water would suffer during winter months.

Table 6: Comparison between Ecological Reserve and flow for different scenarios

|  | Probability of occurrence | Average daily flow (Ml) |
| --- | --- | --- |
|  |  | ER | Virgin catchment | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 |
| Jan | 90 | 50 | 76 | 29 | 25 | 44 | 42 | 94 |
|  | 50 | 163 | 213 | 125 | 121 | 158 | 158 | 210 |
| May | 90 | 27 | 82 | 53 | 50 | 61 | 53 | 105 |
|  | 50 | 90 | 104 | 82 | 78 | 83 | 75 | 127 |
| Sep | 90 | 15 | 40 | 28 | 24 | 27 | 27 | 79 |
|  | 50 | 48 | 48 | 32 | 28 | 30 | 30 | 82 |
| Nov | 90 | 35 | 52 | 17 | 14 | 29 | 28 | 80 |
|  | 50 | 83 | 101 | 40 | 37 | 67 | 62 | 114 |

It is once again important to underline that in wetter decades the results would obviously be better. Nonetheless, working with the levels of uncertainty linked to the available data, and the need to apply a reasonable interpretation of the precautionary principles, it can be assumed that even in wetter periods the situation will remain critical.

Finally, special mention should be made on the full Injaka transfer scenario. Under this scenario the flow at the IFR point is even higher than under the virgin catchment scenario. This transfer therefore has the potential to significantly alter the natural rhythm and functioning of the catchment.

Conclusions

In order to understand the concept of the reserve the RIDe framework was developed. It was thought relevant to include infrastructure into this framework as a main link between resources and demands. In many cases a catchment might have enough resources to meet water demands, but not the actual infrastructure to access these resources. Meeting the BHNR is thus a function of both resources and infrastructure.

This framework was used in analysing the status of the reserve in the Sand River Catchment in South Africa. The Aquator software package was used to actually carry out the analysis. The following could be concluded from the analysis.

Water supply infrastructure

The lay-out of infrastructure within the catchment is chaotic, reflecting the political and developmental history of the catchment (see Pollard et al, 2002). Both bulk and irrigation schemes are highly interconnected making their operation highly complex. When the Injaka transfer materialises, the lay-out of infrastructure is likely to become even more complex as, to meet its declared function of securing domestic water supply, it will required even more conveyance infrastructure. On the other hand, at that time some satellite abstraction points may be taken out of operation, and existing pipelines be removed.

Current dam storage capacity is limited, and essentially lacks the ability to provide security against inter-annual variability – such as drought periods.  Dam operation is complicated by the high degree of inter-connection between systems, and by the lack of required infrastructure to carry out effective operation and releases from the dam.

Meeting domestic needs

Under the current circumstances (low transfer, forestry, no irrigation scheme at Zoeknog), water use is such that the basic entitlement of 25 l/p/d can theoretically be met in most communities. Those communities where the entitlement cannot be met, are those that are not connected to a bulk scheme and without sufficient groundwater pumping capacity installed. The model shows clearly that providing the minimum domestic water entitlement is an infrastructure (hardware and management) issue and not (yet) a resource availability issue.

The actual gross demand for domestic water is estimated to average about 80 l/p/d across the catchment. This includes unauthorised connections, losses and actual higher level of services. Extracting 80 l/p/d from the catchment, may mean only delivering 25 l/p/d at the tap. Sufficient water resources exist to meet this demand.  However, as for the lower 25l/p/d entitlement, those communities without sufficient supply infrastructure continue to be un-served, as do those relying on two of the bulk schemes, whose intake capacity is under-designed. Again, the reality of supplying 80l/p/d (or anything like it) to catchment communities would require wholesale upgrading and maintenance of the system to reduce unaccounted for water.  Meeting the actual domestic demand is therefore again an infrastructure (both hardware and management) issue and not a resource issue.

At the full Injaka transfer of 25 Mm3/yr, all communities can meet a demand of 80 l/p/d. However, as the current inflow point is downstream of all domestic abstraction points, this will require significant additional investments in conveyance infrastructure.

Groundwater extraction is underdeveloped. In addition it is highly erratic, with some communities having significantly greater access than others, and many having significant (theoretical) excess capacity.  However, this surplus water cannot be accessed by other communities without investment in new conveyance infrastructure. At the moment, theoretically installed capacity can supply about 30% of the domestic water demand at 3.5 Mm3/yr. However initial estimates suggest that this could be significantly increased as the estimated groundwater availability is between 31-77 Mm3/yr under conservative scenarios.

In conclusion, it can be said that lack of access to domestic water supply is not primarily caused by a lack of sufficient water resources, but rather by the lack of properly functioning conveyance infrastructure. We have constantly had to qualify statements about access to domestic water with words such as ‘theoretically available’.  This reflects the current situation of very high unaccounted for water from poorly maintained systems and widespread unsanctioned connections.  When we argue that bottlenecks in domestic water supply are caused primarily by infrastructure, it is primarily the management (operation and maintenance) of already existing infrastructure that is at the root of current domestic water supply problems. This implies that to deliver the benefits of catchment management programmes to the catchment communities it will be essential to address the problems of water supply infrastructure and its management.

Meeting environmental needs

Under most scenarios the ER cannot be met most of the time for the decade that was studied. Analysing data for a longer time period might show a somewhat more optimistic situation, but it is clear that current use of water within the catchment is incompatible with meeting environmental objectives.  For the decade modelled, water availability over and above the reserve (ER and BHNR) is very limited and in most cases far below what is needed for forestry and irrigation.

At the other end of the spectrum, concerns exist around the Injaka transfer. Its operation rules seem to suggest that a set amount of water would be supplied to the catchment throughout the year to support downstream flows. Without careful management, the transfer has the capacity to seriously disrupt the natural flow regime of the lower catchment, by providing too much water.  The planned quantity targeted at meeting domestic demand is about twice the current domestic demand of about 80 l/p/d, and it is not clear whether this surplus water will be used to augment downstream flows.

Irrigation and forestry

Current forestry and irrigation demand can be met most of the time in absolute terms.  Under drought conditions some irrigation demand cannot be met, but this is not dramatic.

However, meeting current irrigation demand implies breaking the ER most of the time.  Current irrigation and forestry use is therefore incompatible with meeting the reserve, and while the situation will be improved by removing forestry the amount of water released will still be less than irrigation demands.  What is more, peak forest water consumption is from December until February, when water availability is also highest. Irrigation peak demand is in March-April and in September-August when water availability is significantly lower. It is therefore clearly not feasible to develop additional irrigation if the reserve is to be met. And certainly not the proposed Zoeknog scheme which would use a similar amount of water to one of the forestry plantations.

Recommendations for future work

In a generic sense, it is felt that the RIDe framework can be a useful tool for analysing issues around the reserve and allocation of water over and above that as well in other areas of South Africa as well. Looking at infrastructure as the link between resources and demand is useful for an integrated planning perspective, and for starting up dialogues with stakeholders around water use scenarios.

In the case of the Sand, it is clear from the analysis above that in order to meet the BHNR entitlement improvements in domestic water supply infrastructure are needed. However, there are many ways in which this can be done. Specific alternatives that will need to be researched further would include greater use of groundwater and bulk scheme refurbishments accompanying the Injaka transfer. Both alternatives for improvement will need to be analysed in terms of advantages, disadvantages, costs, operation and maintenance requirements and management options, so that informed decisions on future investments in infrastructure can be made.

If groundwater is to be considered as an important resource for the future water development of the region, then a more detailed understanding of its potential is needed. Special attention should be given to issues such as groundwater recharge in different sub-areas of the catchment and the links between the surface and groundwater system. Linked to this, assumptions about the relationship between forestry and SFR as used in this exercise were highly simplistic and will need to be modified to have a true understanding of the potential impact of the removal of plantation forestry on the river system.

In the area of irrigation infrastructure there is also scope for further work. These systems seem to have infrastructure that does not allow for effective operation of abstractions and regulation of flows through the river. Also the distribution of water between the systems seems complicated. We feel there is great potential for improving the infrastructure and the management of it.

Although dam storage capacity is limited, dams still can play some role in regulating and managing the flows in the catchment. Understanding and possibly improving the management and control infrastructure at these dams should be examined.

The Ecological Reserve as a demand is probably the issue that has generated most conceptual difficulty during this work.  The understanding and application of the Ecological Reserve is still evolving, and it is critical that this work be continued so as to come to practical rules for its implementation within the Sand River Catchment.

Acknowledgments

This publication is an output from a research project funded by the Department for International Development (DFID) of the United Kingdom. However, the authors alone are responsible for information provided and views expressed.  (R7804, Integrating drinking water needs in watershed projects).

References

DWAF. 1998. Final Workshop Report: Sabie-Sand IFR. Aan de Vliet. Department of Water Affairs and Forestry, Pretoria

Hughes, D., Watkins, D., Münster, F. and B. Cobbing. 1998. Hydrological extrapolation of past IFR results; a contribution to the preliminary reserve methodology for South African rivers. Institute for Water Research, Rhodes University, South Africa

Midgely, D.C., Pitman, W.V., Middleton, B.J. 1994. Surface water resources of South Africa 1990, Users Manual’, WRC report no. 298/1/94, Water Research Commission, Pretoria, South Africa

Moriarty, P.B., Batchelor, C.H., Smits, S.J.,  Pollard, S., Butterworth, J.A., Reddy,  G.V., Renuka, B., James, A.J., Malla Reddy, Y.V. 2004. Resources, Infrastructure, Demands and Entitlements (RIDe): a framework for holistic and problem-focussed water resources assessments. WHIRL Project Working Paper 10. NRI, UK. Available at www.nri.org/whirl/reports  (accessed 22 March 2004).

Oxford Scientific Software. 2003. Aquator: Simulation of Water Resource Systems [online] Available at www.oxscisoft.com/aquator/index.htm  (accessed 22 March 2004).

Pollard, S., Moriarty, P. B., Butterworth, J. A., Batchelor, C. H. and Taylor, V. 2002. Water resource management for rural water supply: implementing the Basic Human Needs Reserve and licensing in the Sand River Catchment, South Africa. WHIRL Project Working Paper 6. NRI, UK. [online] Available at www.nri.org/whirl/reports  (accessed 22 March 2004).

Pollard, S. & Walker, P. 2000. Catchment management and water supply and sanitation in the Sand River Catchment, South Africa: description and issues. WHIRL Project Working

Paper 1 (draft). NRI, Chatham, UK. Available at www.nri.org/whirl/reports (accessed 22 March 2004)

RSA (1998) National Water Act. Pretoria, South Africa

Smits, S., Pollard, S., Du Toit, D, Butterworth, J. and P. Moriarty (2004) Modelling scenarios for water resources management in the Sand River Catchment, South Africa. WHIRL Project Working Paper 8 (draft). NRI, Chatham, UK. Available at www.nri.org/whirl/reports (accessed 08 June 2004)

WHiRL (2001) Promoting access of the poor to sustainable water supplies for domestic and productive uses in areas of water scarcity. Water, Households and Rural Livelihoos project inception report. NRI, Chatham, UK

# Footnotes

For the full report on the outcomes of the RIDe modelling work, see Smits et al. (2004)

Throughout the document various units are used for water availability of demand, depending on which is the most appropriate one. For yearly figures we use Mm3/yr. Monthly data have been averaged out to daily figures and are expressed as Ml/d. To give the reader a more “visual” sense of the order of magnitude these data have also been expressed as m3/s or even as mm for the whole catchment.

# Text boxes

Resources

The water resource base in time and space (quantity, quality etc) and institutions that manage resources

Infrastructure

Systems (hardware and software) to abstract, treat and convey water for different purposes, and institutions that manage systems.

Demand (and entitlements)

The requirements of people/ users, and the institutions that represent them